# INDIAN RIVER COUNTY/CITY OF VERO BEACH

# BUILDING DIVISION

1801 27th Street, Vero Beach, FL  32960 772 226-1260

NOTICE

Registration

Mandatory Residential Air Infiltration 
(Blower Door) Testing begins July 1, 2017

Duct Leakage testing already required if default not used

Florida Energy Conservation Building Code States:

Effective July 1st 2017; New Construction on residential buildings or dwelling units shall have mandatory Blower Door Testing performed by an Approved Individuals.

Certification Reports will be accepted from the following Individuals (Blower Door and Duct Leakage):

- Individuals defined under FS 553.993 (5) or (7)

- Individuals licensed under FS 489.105(3)(f), (g) or (i)

- Must be third party individual no conflict of interest

To become registered with the Building Division, you must submit:

- proof of licensure and/or approved certification and/or approved qualification

- proof of liability insurance

- workman’s compensation insurance or exemption

- proof of Business Tax Receipt for the agency

Blower Door Testing reports verifying 7 air changes per hour or less and Duct Leakage 4 CFM/100sqft or less must be submitted prior to the issuance of Certificate of Occupancy, signed by the registered, qualified individual who performed the test.

Enacting code (R101.4.9 and R402.4.1.2) is found in the 2016 supplement: http://www.floridabuilding.org/fbc/thecode/2017_Code_Development/Glitch_2016/2016_Supplement_to_the_5th_Edition_2014_FBC.htm